8-Lecture. PHOTOMETRY OF POINT IMAGES IN DENSE AREAS WITH ALLSTAR

Photometry is a fundamental technique in observational astronomy used to measure the brightness of celestial objects. In crowded or dense stellar fields—such as globular clusters, star-forming regions, and the central regions of galaxies—accurate photometric measurements become particularly challenging. In such environments, stellar images often overlap due to limited angular resolution and atmospheric or instrumental effects. Traditional aperture photometry methods fail to provide reliable results under these conditions.

To address these challenges, point-spread function (PSF) fitting photometry has become the standard approach. One of the most widely used tools for PSF photometry in dense fields is ALLSTAR, a program developed by Peter B. Stetson as part of the DAOPHOT software package. ALLSTAR is specifically designed to perform high-precision photometry by fitting empirically determined PSFs to overlapping stellar images.

This lecture provides a comprehensive, scientifically grounded discussion of photometry of point sources in dense areas using ALLSTAR. It covers the theoretical foundations of PSF photometry, the ALLSTAR workflow, data preparation, result interpretation, and scientific applications.

Nature of Crowded Astronomical Fields

Dense stellar regions contain a high surface density of point sources, often exceeding the resolving power of the observing instrument. In such cases, stellar profiles overlap significantly, making it difficult to isolate individual stars. Examples of crowded fields include:

- Globular and open star clusters

- Galactic bulge regions

- Starburst galaxies

- Nearby galaxies observed at high spatial resolution

In these environments, accurate photometry requires sophisticated modeling of the light distribution.

Limitations of Aperture Photometry

Aperture photometry measures the total flux within a fixed circular aperture. While effective in sparse fields, this method suffers from severe contamination in crowded regions. Overlapping flux from neighboring stars leads to systematic overestimation of brightness and increased uncertainties.

Scientific studies have demonstrated that aperture photometry becomes unreliable when the separation between stars is comparable to the full width at half maximum (FWHM) of the PSF.

Point Spread Function Concept

The point spread function describes how a point source of light is imaged by a telescope and detector system. The PSF incorporates effects from atmospheric turbulence, optical aberrations, diffraction, and detector response.

Mathematically, the observed image I(x, y) can be expressed as the convolution of the true sky brightness distribution with the PSF, plus noise. Accurate PSF modeling is therefore central to precise photometry.

Advantages of PSF Fitting

PSF fitting photometry models each star as a scaled version of the PSF, allowing simultaneous fitting of overlapping sources. Key advantages include:

- Effective separation of blended stars

- Improved photometric accuracy

- Robust background estimation

- Applicability to extremely crowded fields

These advantages make PSF photometry indispensable in stellar population studies.

Development and Purpose of ALLSTAR

ALLSTAR was developed by Stetson (1987) as an extension of DAOPHOT. While DAOPHOT identifies stars and constructs the PSF, ALLSTAR performs iterative PSF fitting to derive precise stellar magnitudes and positions.

ALLSTAR is optimized for handling large numbers of stars in crowded fields and has been extensively validated in astronomical research.

Image Calibration Requirements

Before applying ALLSTAR, images must be carefully calibrated. Required steps include:

- Bias subtraction

- Dark current correction

- Flat-field normalization

- Cosmic ray removal

- Accurate background estimation

Improper calibration can introduce systematic errors that propagate into photometric results.

PSF Star Selection

Selecting appropriate PSF stars is critical. Ideal PSF stars should be:

- Isolated

- Unsaturated

- Evenly distributed across the image

- Representative of the image quality

The PSF may vary spatially, and ALLSTAR supports spatially variable PSF models.

Input Requirements

ALLSTAR requires several inputs:

- Science image

- PSF model

- Star list with initial positions and magnitudes

- Parameter settings controlling fitting behavior

Careful configuration of fitting radii, sky annuli, and convergence criteria is essential.

Iterative Fitting and Subtraction

ALLSTAR fits the PSF to detected stars, subtracts them from the image, and refines the residuals. This iterative process improves detection of faint stars previously hidden by brighter neighbors.

This approach significantly increases completeness in dense regions.

Photometric Results

ALLSTAR outputs include:

- Stellar magnitudes and uncertainties

- Refined positions

- Fit quality indicators (e.g., chi-square, sharpness)

ALLSTAR photometry is widely used in:

- Stellar population analysis

- Color–magnitude diagram construction

- Variable star detection

- Distance determination via standard candles

- Studies of globular clusters and nearby galaxies

High-precision photometry in dense fields has enabled major advances in understanding stellar evolution.